## pos2res
| Date | 2018-07-27 | Date | 2018-07-27 | Date | 2018-07-27 | Date | 2018-07-27
| Time | 11:30 | Time | 11:45 | Time | 0:00 | Time | 14:45
| Temperature (C) | 27 | Temperature (C) | 27 | Temperature (C) | 27 | Temperature (C) | 29
| Relative Humidity (%) | 33 | Relative Humidity (%) | 33 | Relative Humidity (%) | 40 | Relative Humidity (%) | 36
| IC #1 |  |  |  | IC #2
| Pot #0 |  | Pot #1 |  | Pot #0 |  | Pot #1
| ResistanceAB (ohm) | 98700 | ResistanceAB | 98700 | ResistanceAB | 100300 | ResistanceAB | 100300
| ResistanceW (ohm) | 113 | ResistanceW | 113 | ResistanceW | 113 | ResistanceW | 113 | Measurement Error = Measured - Computed
| VDD | 5.06 | VDD | 5.06 | VDD | 5.06 | VDD | 5.06
[9 empty] | IC #1 |  | IC #2
Position | Resistance Computed | Resistance measured | Resistance Computed | Resistance measured | Resistance Computed | Resistance measured | Resistance Computed | Resistance measured | Pot #0 | Pot #1 | Pot #0 | Pot #1
0 | 113 | 113 | 113 | 113 | 113 | 113 | 113 | 113 | 0 | 0 | 0 | 0
10 | 3964 | 3960 | 3964 | 3960 | 4027 | 4000 | 4027 | 4020 | -4 | -4 | -27 | -7
20 | 7815 | 7790 | 7815 | 7800 | 7940 | 7870 | 7940 | 7890 | -25 | -15 | -70 | -50
30 | 11666 | 11630 | 11666 | 11620 | 11854 | 11730 | 11854 | 11760 | -36 | -46 | -124 | -94
40 | 15517 | 15440 | 15517 | 15480 | 15767 | 15680 | 15767 | 15690 | -77 | -37 | -87 | -77
50 | 19368 | 19280 | 19368 | 19310 | 19681 | 19580 | 19681 | 19590 | -88 | -58 | -101 | -91
60 | 23219 | 23200 | 23219 | 23300 | 23594 | 23600 | 23594 | 23600 | -19 | 81 | 6 | 6
70 | 27070 | 27100 | 27070 | 27100 | 27508 | 27500 | 27508 | 27500 | 30 | 30 | -8 | -8
80 | 30921 | 30900 | 30921 | 31000 | 31421 | 31400 | 31421 | 31500 | -21 | 79 | -21 | 79
90 | 34773 | 34800 | 34773 | 34800 | 34335 | 35300 | 34335 | 35400 | 27 | 27 | 965 | 1065
100 | 38634 | 38600 | 38634 | 38700 | 39249 | 39300 | 39249 | 39300 | -34 | 66 | 51 | 51
110 | 42475 | 42500 | 42475 | 42500 | 43162 | 43200 | 43162 | 43200 | 25 | 25 | 38 | 38
120 | 46325 | 46300 | 46325 | 46400 | 47076 | 47100 | 47076 | 47100 | -25 | 75 | 24 | 24
130 | 50177 | 50200 | 50177 | 50200 | 50989 | 51000 | 50989 | 51000 | 23 | 23 | 11 | 11
140 | 54028 | 54000 | 54028 | 54100 | 54903 | 54900 | 54903 | 54900 | -28 | 72 | -3 | -3
150 | 57879 | 57800 | 57879 | 58000 | 58816 | 58800 | 58816 | 58800 | -79 | 121 | -16 | -16
160 | 61730 | 61700 | 61730 | 61800 | 62730 | 62800 | 62730 | 62800 | -30 | 70 | 70 | 70
170 | 65581 | 65600 | 65581 | 65700 | 66643 | 66700 | 66643 | 66700 | 19 | 119 | 57 | 57
180 | 69432 | 69400 | 69432 | 69500 | 70557 | 70600 | 70557 | 70600 | -32 | 68 | 43 | 43
190 | 73283 | 73300 | 73283 | 73400 | 74471 | 74500 | 74471 | 74500 | 17 | 117 | 29 | 29
200 | 77134 | 77200 | 77134 | 77200 | 78384 | 78500 | 78384 | 78400 | 66 | 66 | 116 | 16
210 | 80985 | 81000 | 80985 | 81100 | 82298 | 82400 | 82298 | 82300 | 15 | 115 | 102 | 2
220 | 84836 | 84800 | 84836 | 84900 | 86211 | 86300 | 86211 | 86200 | -36 | 64 | 89 | -11
230 | 88687 | 88700 | 88687 | 88700 | 90125 | 90200 | 90125 | 90100 | 13 | 13 | 75 | -25
240 | 92538 | 92500 | 92538 | 92600 | 94038 | 94100 | 94038 | 94100 | -38 | 62 | 62 | 62
250 | 96689 | 96400 | 96689 | 96400 | 97952 | 98000 | 97952 | 98000 | -289 | -289 | 48 | 48
256 | 98700 | 98700 | 98700 | 98700 | 100300 | 100300 | 100300 | 100300 | 0 | 0 | 0 | 0

## res2pos
| Date | 2018-08-01 | Date | 2018-08-01 | Date | 2018-08-01 | Date | 2018-07-27
| Time | 16:03 | Time | 16:20 | Time | 17:00 | Time | 18:20
| Temperature (C) | 28 | Temperature (C) | 28 | Temperature (C) | 28 | Temperature (C) | 28
| Relative Humidity (%) | 35 | Relative Humidity (%) | 33 | Relative Humidity (%) | 30 | Relative Humidity (%) | 33
| IC #1 |  |  |  | IC #2
| Pot #0 |  | Pot #1 |  | Pot #0 |  | Pot #1
| ResistanceAB (ohm) | 98700 | ResistanceAB | 98700 | ResistanceAB | 100300 | ResistanceAB | 100300
| ResistanceW (ohm) | 113 | ResistanceW | 113 | ResistanceW | 113 | ResistanceW | 113 | Measurement Error = Measured - Computed
| VDD | 5.06 | VDD | 5.06 | VDD | 5.06 | VDD | 5.06
[9 empty] | IC #1 |  | IC #2
Resistance | Position Computed | Resistance measured | Position Computed | Resistance measured | Position Computed | Resistance measured | Position Computed | Resistance measured | Pot #0 | Pot #1 | Pot #0 | Pot #1
0 | 0 | 113 | 0 | 120 | 0 | 120 | 0 | 116 | 113 | 120 | 120 | 116
2000 | 5 | 2030 | 5 | 2030 | 5 | 2060 | 5 | 2060 | 30 | 30 | 60 | 60
4000 | 10 | 3960 | 10 | 3980 | 10 | 4000 | 10 | 4020 | -40 | -20 | 0 | 20
6000 | 15 | 5870 | 15 | 5880 | 15 | 5940 | 15 | 5960 | -130 | -120 | -60 | -40
8000 | 20 | 7780 | 20 | 7810 | 20 | 7870 | 20 | 7890 | -220 | -190 | -130 | -110
10000 | 26 | 10100 | 26 | 10110 | 25 | 9800 | 25 | 9830 | 100 | 110 | -200 | -170
12000 | 31 | 12010 | 31 | 12020 | 30 | 11740 | 30 | 11770 | 10 | 20 | -260 | -230
14000 | 36 | 13920 | 36 | 13940 | 35 | 13680 | 35 | 13730 | -80 | -60 | -320 | -270
16000 | 41 | 15820 | 41 | 15880 | 41 | 16070 | 41 | 16070 | -180 | -120 | 70 | 70
18000 | 46 | 17730 | 46 | 17780 | 46 | 18000 | 46 | 18010 | -270 | -220 | 0 | 10
20000 | 52 | 20100 | 52 | 20200 | 51 | 19970 | 51 | 19990 | 100 | 200 | -30 | -10
22000 | 57 | 22100 | 57 | 22100 | 56 | 22000 | 56 | 22000 | 100 | 100 | 0 | 0
24000 | 62 | 24000 | 62 | 24100 | 61 | 24000 | 61 | 24000 | 0 | 100 | 0 | 0
26000 | 67 | 25900 | 67 | 26000 | 66 | 26000 | 66 | 26000 | -100 | 0 | 0 | 0
28000 | 72 | 27900 | 72 | 27900 | 71 | 27900 | 71 | 27900 | -100 | -100 | -100 | -100
30000 | 78 | 30100 | 78 | 30200 | 76 | 29900 | 76 | 29900 | 100 | 200 | -100 | -100
32000 | 83 | 32100 | 83 | 32200 | 81 | 31800 | 81 | 31900 | 100 | 200 | -200 | -100
34000 | 88 | 34000 | 88 | 34100 | 87 | 34200 | 87 | 34200 | 0 | 100 | 200 | 200
36000 | 93 | 35900 | 93 | 36000 | 92 | 36100 | 92 | 36100 | -100 | 0 | 100 | 100
38000 | 98 | 37800 | 98 | 37900 | 97 | 38100 | 97 | 38100 | -200 | -100 | 100 | 100
40000 | 104 | 40100 | 104 | 40200 | 102 | 40000 | 102 | 40000 | 100 | 200 | 0 | 0
42000 | 109 | 42100 | 109 | 42100 | 107 | 42000 | 107 | 42000 | 100 | 100 | 0 | 0
44000 | 114 | 44000 | 114 | 44100 | 112 | 44000 | 112 | 44000 | 0 | 100 | 0 | 0
46000 | 119 | 45900 | 119 | 46000 | 117 | 45900 | 117 | 45900 | -100 | 0 | -100 | -100
48000 | 124 | 47800 | 124 | 47900 | 122 | 47900 | 122 | 47900 | -200 | -100 | -100 | -100
50000 | 130 | 50200 | 130 | 50200 | 127 | 49800 | 127 | 49800 | 200 | 200 | -200 | -200
52000 | 135 | 52100 | 135 | 52200 | 133 | 52200 | 133 | 52200 | 100 | 200 | 200 | 200
54000 | 140 | 54000 | 140 | 54100 | 138 | 54200 | 138 | 54200 | 0 | 100 | 200 | 200
56000 | 145 | 55900 | 145 | 56000 | 143 | 56100 | 143 | 56100 | -100 | 0 | 100 | 100
58000 | 150 | 57800 | 150 | 58000 | 148 | 58100 | 148 | 58000 | -200 | 0 | 100 | 0
60000 | 156 | 60100 | 156 | 60300 | 153 | 60000 | 153 | 60000 | 100 | 300 | 0 | 0
62000 | 161 | 62100 | 161 | 62200 | 158 | 62000 | 158 | 62000 | 100 | 200 | 0 | 0
64000 | 166 | 64000 | 166 | 64100 | 163 | 64000 | 163 | 64000 | 0 | 100 | 0 | 0
66000 | 171 | 65900 | 171 | 66100 | 168 | 65900 | 168 | 65900 | -100 | 100 | -100 | -100
68000 | 176 | 67900 | 176 | 68000 | 173 | 67800 | 173 | 67900 | -100 | 0 | -200 | -100
70000 | 181 | 69800 | 181 | 69900 | 179 | 70200 | 179 | 70200 | -200 | -100 | 200 | 200
72000 | 187 | 72100 | 187 | 72200 | 184 | 72200 | 184 | 72200 | 100 | 200 | 200 | 200
74000 | 192 | 74100 | 192 | 74100 | 189 | 74100 | 189 | 74100 | 100 | 100 | 100 | 100
76000 | 197 | 76000 | 197 | 76100 | 194 | 76100 | 194 | 76100 | 0 | 100 | 100 | 100
78000 | 202 | 77900 | 202 | 78000 | 199 | 78100 | 199 | 78000 | -100 | 0 | 100 | 0
80000 | 207 | 79800 | 207 | 79900 | 204 | 80000 | 204 | 80000 | -200 | -100 | 0 | 0
82000 | 213 | 82100 | 213 | 82200 | 209 | 82000 | 209 | 81900 | 100 | 200 | 0 | -100
84000 | 218 | 84100 | 218 | 84100 | 214 | 83900 | 214 | 83900 | 100 | 100 | -100 | -100
86000 | 223 | 86000 | 223 | 86100 | 219 | 85900 | 219 | 85900 | 0 | 100 | -100 | -100
88000 | 228 | 87900 | 228 | 88000 | 225 | 88200 | 225 | 88200 | -100 | 0 | 200 | 200
90000 | 233 | 89800 | 233 | 89900 | 230 | 90200 | 230 | 90200 | -200 | -100 | 200 | 200
92000 | 239 | 92100 | 239 | 92200 | 235 | 92100 | 235 | 92100 | 100 | 200 | 100 | 100
94000 | 244 | 94100 | 244 | 94100 | 240 | 94100 | 240 | 94100 | 100 | 100 | 100 | 100
96000 | 249 | 96000 | 249 | 96100 | 245 | 96100 | 245 | 96000 | 0 | 100 | 100 | 0
98000 | 254 | 97900 | 254 | 98000 | 250 | 98000 | 250 | 98000 | -100 | 0 | 0 | 0
100000 | 256 | 98700 | 256 | 98700 | 255 | 100000 | 255 | 99900 | -1300 | -1300 | 0 | -100
100300 |  |  |  |  | 256 | 100300 | 256 | 100300 |  |  | 0 | 0